## HAYDEN
ASSET | MODEL | DESCRIPTION | JOB START | DEPT | SHELF | ACTIVITY | STATUS
T53746 | 68100056 | CO2 SENSOR | 23/Jul/2002 | PA555 | FACTORY | R | FACTORY
G70898 | 9500 | CALIBRATOR,O-SCOPE | 15/Aug/2002 | PA503 | FACTORY | R | FACTORY
T48150 | 9530 | HEAD, ACTIVE | 16/Aug/2002 | PA503 | FACTORY | R | FACTORY
T48151 | 9530 | HEAD, ACTIVE | 16/Aug/2002 | PA503 | FACTORY | R | FACTORY
T48153 | 9530 | HEAD, ACTIVE | 16/Aug/2002 | PA503 | FACTORY | R | FACTORY
T46317 | 9530 | HEAD, ACTIVE | 16/Aug/2002 | PA503 | FACTORY | R | FACTORY
T48172 | 9530 | HEAD, ACTIVE | 16/Aug/2002 | PA503 | FACTORY | R | FACTORY
T56709 | 1250 | UPS | 06/Sep/2002 | PA795 | AWP | R | AWP
Z26695 | 6943A | MULTIPROGRAMMER | 06/Sep/2002 | PB101 | BILL | R | AWP
Z13622 | 6942A | MULTIPROGRAMMER | 06/Sep/2002 | PB101 | BILL | R | AWP
Z13621 | 6942A | MULTIPROGRAMMER | 06/Sep/2002 | PB101 | BILL | R | AWP
T49458 | MA2472A | POWER SENSOR | 09/Sep/2002 | CL003 | I2 | C | FACTORY
T48058 | MA2472A | POWER SENSOR | 09/Sep/2002 | CL003 | I2 | C | FACTORY
G68371 | M1120 | COAXIAL POWER STD. | 11/Sep/2002 | PA503 | FACTORY | C | FACTORY
T57953 | 3459B | FLOW CALIBRATOR | 18/Sep/2002 | PA800 | A5 | C | FACTORY
Q85150 | 8920B | COMM TEST SET | 19/Sep/2002 | CL003 | I3 | R | FACTORY
T27398 | 6621A | SUPPLY DC PWR | 26/Sep/2002 | PX460 | AWP | R | AWP
G21034 | 8495K004 | ATTEN STEP | 30/Sep/2002 | PA503 | TH | R | FACTORY
Z20627 | 33449A | LASERJET III | 03/Oct/2002 | PB101 | A3 | R | AWP
T29724 | 8722B | PROBE | 03/Oct/2002 | BC109 | CART | C | FACTORY
T48230 | 8481D | SENSOR POWER | 07/Oct/2002 | PB405 | AWP | C | AWP
G27480 | HI3004 | MTR FLD STRNGTH | 08/Oct/2002 | PA535 | A5 | R
T49886 | TS1006A | SIMPLIFIBER | 14/Oct/2002 | PA101 | FACTORY | C | FACTORY
T49830 | TS1006A | SIMPLIFIBER | 14/Oct/2002 | PA101 | FACTORY | C | FACTORY
T49829 | TS1006A | SIMPLIFIBER | 14/Oct/2002 | PA101 | FACTORY | C | FACTORY
T49828 | TS1006A | SIMPLIFIBER | 14/Oct/2002 | PA101 | FACTORY | C | FACTORY
T04609 | DMP248 | DEWPOINT TRAMSMIT | 17/Oct/2002 | PX430 | A3 | R | FACTORY
T41831 | AV014 | HASTINGS VAC GAGE | 17/Oct/2002 | PA555 | C2 | C
F23945 | SMIQ02 | SPEC ANALY | 18/Oct/2002 | CL003 | I5 | C | FACTORY
F23427 | SMIQ02 | SPEC ANALY | 18/Oct/2002 | CL003 | I5 | C | FACTORY
T36600 | 11051A | CONVERTER THRML | 21/Oct/2002 | PA503 | FACTORY | C | FACTORY
Z19817 | 3325B | GENERATOR,SYN/FUNC | 21/Oct/2002 | PX420 | F4 | R | AWP
G71749 | SMT06 | SIGNAL GENERATOR | 22/Oct/2002 | PX430 | MIKE | R | FACTORY
Z29992 | 86130A | BERT | 24/Oct/2002 | PB420 | DAVE | R | FACTORY
MA0104 | 2430A | SCOPE | 24/Oct/2002 | PB470 | AWP | C | AWP
T13119 | 8483A | SENSOR POWER | 25/Oct/2002 | PA503 | FACTORY | C | FACTORY
C04348 | 85102B | IF/DETECTOR | 29/Oct/2002 | PX430 | I2 | C
QC9214 | 54616C | SCOPE | 30/Oct/2002 | PW435 | REP |  | FACTORY
G35538 | AA001 | ANGLE GA BLOCK SET | 31/Oct/2002 | PA503 | FACTORY | C
T48660 | 2397A | TERMINAL | 31/Oct/2002 | PA578 | N | R
T47667 | B | HYDROSET | 31/Oct/2002 | PX430 | A3 | R | FACTORY
G31119 | 35741A | MONITOR | 31/Oct/2002 | PA578 | AWP | R | AWP
T48569 | P6201 | PROBE FET | 01/Nov/2002 | PB101 | ABERATIONS OOT | R
T19305 | 175 | METER DMM | 01/Nov/2002 | PB420 | _1KOHM2LO | R
T48570 | P6201 | PROBE FET | 01/Nov/2002 | PB101 | ABERRATIONS | R
T14348 | 8482A | SENSOR POWER | 01/Nov/2002 | PB101 | N | C
G20294 | 2465 | SCOPE | 01/Nov/2002 | PB101 | N | R
G18446 | 3478A | METER DMM | 01/Nov/2002 | PB101 | _DCV2LO | R
T46305 | TYPE T | THERMOCOUPLE | 04/Nov/2002 | PA503 | FACTORY | C | FACTORY
G27378 | LBO325 | SCOPE | 04/Nov/2002 | PA795 | _CHAN12LO | C
T48072 | MA2472A | POWER SENSOR | 04/Nov/2002 | CL003 | H2 | C | FACTORY
T35251 | 8840A | METER DMM | 04/Nov/2002 | PA503 | MIKE | R
G08737 | P6201 | PROBE FET | 04/Nov/2002 | PA531 | A3 | R
G38913 | 3531D | DATA LOGGER | 05/Nov/2002 | PA533 | _2HAYDEN4CAL | C
G20827 | 8566B | ANAL SPECT | 05/Nov/2002 | PB101 | _10MHZNOTADJ | R
G08612 | 8640B | GEN SIG | 05/Nov/2002 | PB101 | _FMRNGSWITCHDOESNT | C
G66210 | 54540A | OSCILLOSCOPE | 06/Nov/2002 | PX460 | B3 | R
F24220 | 8920B | COMM TEST SET | 06/Nov/2002 | CL003 | I3 | R
G52029 | TPD19 | DISPLAY COLOR | 06/Nov/2002 | PB405 | E4 | R
G22734 | 2932A | PRINTER | 06/Nov/2002 | PX420 | G4 | R
Z24145 | 11848A | INTERFACE PHASE | 06/Nov/2002 | PW435 | STE | R
Z29447 | P1202 | LASER PRINTER | 06/Nov/2002 | PX420 |  | R
G76227 | 8753ES | NETWORK ANALYZER | 06/Nov/2002 | PX420 | G4 | R
Z20735 | P6204 | PROBE FET | 06/Nov/2002 | PB101 | B2 | R
Z29449 | P1202 | LASER PRINTER | 06/Nov/2002 | PX420 |  | R
G12929 | 8640B | GEN SIG | 06/Nov/2002 | PX420 | /REP_CNTR_CIRC | R
G76236 | 85047A | ANAL NET REFL | 06/Nov/2002 | PX420 | G4 | R
G76253 | 4339B | METER | 06/Nov/2002 | PA535 | B4 | C
T36149 | P6202 | PROBE FET | 06/Nov/2002 | PB101 | B2 | R
T28968 | J2300C | LAN ADVISOR | 06/Nov/2002 | PB470 | E4 | R
G07160 | 8640B | GEN SIG | 06/Nov/2002 | PX420 | 026973 | R
G62861 | 8901B | ANAL MOD | 07/Nov/2002 | PB101 | _AM/FM/AUDIO/PWR | R
T17914 | 8481A | SENSOR POWER | 07/Nov/2002 | PA503 | N | C
G66208 | 8672S | GEN SIG | 07/Nov/2002 | PX420 | A4 | R
Z30240 | TDS8000 | SCOPE | 07/Nov/2002 | PB101 | N | R
Z30235 | TDS8000 | SCOPE | 07/Nov/2002 | PB101 | N | R
Z26608 | 8481A | SENSOR POWER | 08/Nov/2002 | PB405 | MK-45 | C
C04055 | TLS216 | LOGIC OSCILL0SCOPE | 08/Nov/2002 | PX430 | STE | C
T13797 | 8482A | SENSOR POWER | 08/Nov/2002 | PY101 | C3 | C
G12039 | 3455A | METER DMM | 08/Nov/2002 | PX430 | B2 | R
T50354 | 8481H | SENSOR POWER | 08/Nov/2002 | PY401 | C3 | C
C04050 | TDS820 | DIGITIZING OSCILLO | 08/Nov/2002 | PX430 | STE | R
T44602 | 8116A | GEN PULSE | 08/Nov/2002 | PX447 | A3 | C
T45760 | 33120A | GEN FUNCT | 08/Nov/2002 | PY101 | B4 | C
G71726 | 8564E | ANALYZER, SPECTRUM | 11/Nov/2002 | PX420 | A3 | C
PX4209 | CHGBACK | CHGBACK | 11/Nov/2002 | PX420 | C3 | R

## ROOSEVELT
ASSET | MODEL | DESCRIPTION | JOB START | DEPT | SHELF | ACTIVITY | STATUS
G70943 | 8561E | ANAL SPECT | 17/Oct/2002 | PW435 | CAL
G11842 | 8165A | GEN FUNCT | 21/Oct/2002 | PA795 | /DISPLAY_ERRATIC | R
G27916 | AU030 | GAGE BLOCK | 31/Oct/2002 | PA503 | FACTORY
T32303 | RS200 | BOX RESISTANCE | 04/Nov/2002 | PB400 | CSC 12819 OFF SCH | C
Z29872 | TDS8000 | SCOPE | 05/Nov/2002 | PB420 | _2HAYDEN/FACRTN | R
G11418 | TC8 | CHAMBER TEMP | 06/Nov/2002 | PB101 |  | R
G25432 | 3312A | GEN FUNCT | 07/Nov/2002 | PB101 | 8 INT TO 25 | C
G27493 | 2465A | SCOPE | 07/Nov/2002 | PB101 |  | C
T48531 | 37 | METER DMM | 07/Nov/2002 | PB101 |  | C
G60769 | 8594E | ANAL SPEC | 07/Nov/2002 | PB101 | NO PROB FOUND | C
G70905 | 3326A | SYNTHESIZER | 07/Nov/2002 | PB101 | 8 INT TO 19 | C
T47041 | GANGPAK | MODULE | 07/Nov/2002 | PB101 |  | C
G76394 | 81130A | GENERATOR | 07/Nov/2002 | PA795 | D4 | C
G45695 | 2900 | PROGRAMMER | 08/Nov/2002 | PB405 |  | C

## CHANDLER
ASSET | MODEL | DESCRIPTION | JOB START | DEPT | SHELF | ACTIVITY | STATUS
G70540 | 66103A | MODULE DC POWER | 13/Sep/2002 | PW435 | TCS9878 ON SCH